Solution to Serial Test 2

PART A

- Given that

Where Ia, Ib and Ic are unequal constants. We know that MMF is given by

The first term in the air gap MMF rotating in the Counter clockwise direction at. The last two terms are air gap MMF that rotates in clockwise direction at.

- Yes in a three phase salient pole synchronous machine the mutual inductances between the stator windings are function of rotor position under dynamic conditions because air gap and Flux density of stator windings are function of rotor position. It is evident from the below equations,

- Stator Resistance, Field Resistance, Stator Self Inductance, Field Self Inductance, Mutual Inductances between stator windings, Mutual Inductances between stator and Field Inductances are the parameters of Synchronous machines.

- Concentrated Windings:

Depending upon the total number of slots and number of poles, certain slots per pole is available under each pole. This is denoted by m

For example For 18 slots, 2 Pole, 3 phase machine

So we have three slots per pole per phase. Now let X be number of conductors per phase are to be placed under one pole, but we have 3 slots per pole per phase. If all the X conductors are placed in one slot keeping other two slots empty then the winding is called Concentrated Winding.

Distributed Winding:

If all the three slots are used to place the conductors then such a winding arrangement is called as distributed winding.

Distributed winding are preferred over concentrated winding because the coil belonging to a phase are well distributed over the entire ‘m’ slots per pole per phase which makes the waveform of induced emf more sinusoidal.

- Full Pitch Winding

If coil side in one slot is connected to coil side in another slot which is one pole pitch distance away from first slot, the winding is said to be full pitched winding and coil is full pitch coil.

Short Pitch Winding:

If coils are used in such a way that coil span is slightly less than a pole pitch i.e. less than 180 degree electrical than the coils are called short pitched coils or fractional pitched coils.

Advantages of Short Pitched Windings

- The length required for the end connections of the coil is less. So less copper required and so most economical.

- Short pitch eliminates high frequency harmonics; hence waveform of induced emf of short pitched winding is more sinusoidal.

- Significance of Rotating Magnetic Field:

  - The resultant flux is of constant value=(i.e) 1.5 times the maximum value of the flux due to any phase.

  - The resultant flux rotates around the stator at synchronous speed given by .

- The Transfer Functions of DC motor is given by

- MMF of field windings is given by

- Torque expression of a induction machine is given by

PART B

- MMF SPACE WAVE OF A CONCENTRATED COIL

A cylindrical rotor with small air gap as shown in the figure below is assumed here.

The stator is imagined to wound for two poles with a single N turn full pitch coil carrying current I in the direction indicated. From the figure each flux line radially crosses the air gap twice, Normal to the stator and rotor iron surfaces and it’s associated with constant mmf Ni. On the assumption that the reluctance of the iron path is negligible, half the mmf  is consumed to create flux from the rotor to stator in the air gap and the other half is used to establish flux from the stator to rotor in the air gap. MMF and flux radially outwards from the rotor to the stator will be assumed to be positive and that from the stator to rotor is negative.

The physical picture is more easily visualized by the development diagram as shown in the figure above, where the stator winding is laid down flat with the rotor on the top of it. It has been seen that the MMF is a rectangular space wave where in MMF of is consumed in setting flux from the rotor to stator and MMF of is consumed in setting up flux from the stator to the rotor. The MMF space wave of a single concentrated coil being rectangular, it can be split up into its fundamental and harmonics. It is easily follows from the Fourier series analysis that the fundamental of the MMF wave as shown in figure above is

Where  is the electrical angle measured from the magnetic axis of the coil which coincides with the positive peak of the fundamental wave.

Note: Amplitude of associated harmonic waves are given by,

MMF SPACE WAVE OF ONE PHASE DISTRIBUTED WINDING

Consider now a basic 2 pole structure with a round rotor, with 5 slots/pole/phase (SPP) and a 2 layer winding as shown in the figure below.

The corresponding development diagram shown in the figure below along with the mmf diagram which is now a stepped wave –obviously closer to the sine wave than the rectangular mmf wave of a single concentrated coil.

Here the SPP is odd (5), half the ampere conductors of the middle slot of the phase a and a’ contribute towards establishment of South Pole and half towards North Pole on the stator. At each slot the mmf wave has a step jump of 2Ncic ampere conductors Where Nc is the coil turns and ic is the conductor current.

Let 	Nph (Series)= Series turns per parallel path of a phase

A = number of parallel paths of a phase.

Then

It now follows that

Provided the winding is concentrated one. The fundamental peak of the concentrated winding is then

Since the actual winding is distributed one, the fundamental peak will be reduced by a factor Kb (Breadth Factor) Thus

MMF SPACE WAVE OF ONE PHASE SHORT PITCHED WINDING

The effect of the mmf wave of short pitched coils can be visualized as shown in the figure given below in which the stator has two short pitched coils  for phase a of 2 pole structure.

The mmf of each coil establishes one pole. The development diagram is shown in the figure given below and it is seen that the mmf wave is rectangular but shorter space length than a pole pitch. The amplitude of the fundamental peak gets reduced by a factor Kp called pitch factor, compared to the full pitched rectangular wave. It can be shown from the Fourier analysis that

In general when the winding is both distributed and short pitched, the fundamental space mmf of phase a is generalizes to

(b) (i) Steps involved in the computation of DC motor Response

The basic steps involved in the computation of dc motor response and other quantities of interest are as follows.

- Reading of machine parameters

- Specification of computational needs such as time response, frequency response, eigen values for stability

- Use of transfer function to evaluate the responses

- Printing/Displaying of the output results.

11. (b) (ii) Operational impedances for a synchronous machine with four rotor windings

Construction

A 2 pole 3 phase wye-connected salient pole synchronous machine is shown in the figure given below. The stator windings are identical and sinusoid ally distributed windings displaced 120 degrees with Ns equivalent turns and resistance rs. The rotor is equipped with a field winding and three damper windings. The field winding (fd winding) has Nfd equivalent turns with resistance rfd.One damper winding has the same magnetic axis as the field winding. This winding is kd winding, has Nkd equivalent turns with resistance rkd.The magnetic axis of second and third damper windings, the kq1 and kq2 windings, is displaced 90 degrees a head of the magnetic axis of the fd and kd windings. The kq1 and kq2 windings have Nkq1 and Nkq2 equivalent turns with resistance rkq1 and rkq2.It is assumed that all the rotor windings are sinusoidally distributed. Also it is assumed that the direction of positive stator currents is out of the terminals convenient to describe generator action.

The magnetic axes of the stator windings are denoted by as, bs and cs axes. The q axis is the magnetic axes of the kq1 and kq2 windings while the d axis is the magnetic axis of the fd and kd windings. Because the synchronous machine is generally operated as a generator, it is convenient to assume that the direction of positive stator current is out of the terminals as shown in the figure above. With this convention the voltage equation in machine variables may be expressed in matrix form as,

Derivation

In the above expression s and r subscripts denote variables associated with the stator and rotor windings, respectively. Both rs and rr are diagonal matrices. In particular

The flux linkages equations becomes

We can write Stator inductance matrix Ls (Self and Mutual between stator phases) as (Refer Lecture Notes on Symmetrical synchronous machine and MMF waveforms)

Similarly self and mutual inductance of the damper windings are as given below; the inductance matrix Lsr and Lr may be expressed as

The magnetizing inductances are defined as

The relation ship between mutual inductances and magnetizing inductances are given as below (proof of which is given in lecture notes)

It is convenient to incorporate the following substitute variables that refer the rotor variables to the stator windings:

The flux linkages may be now written as

Where Ls is defined in the equation (6) and

The voltage equations in terms of machine variables referred to the stator windings are

TORQUE EQUATIONS IN MACHINE VARIABLES

The energy stored in the coupling field of a synchronous machine may be expressed as

Form the above discussions Ls and L’lr are only function of rotor position and Lr is not a function of rotor position so we can eliminate last term of (30) and since it is a generator iabcs is negative and for a “P” pole machine the above equation can be modified for torque expression as follows

In expanded form the above equation becomes

- (a) Voltage and torque equations of a three phase symmetrical induction machine.

The winding arrangement for a 2 pole 3 phase wye connected symmetrical induction machine is shown in the figure below.

The stator windings are identical, sinusoidally distributed windings, displaced by 120 degrees with Ns equivalent turns and resistance rs. The rotor windings are also identical sinusoidally distributed windings, displaced 120 degrees with Nr equivalent turns and resistance rr. The voltage equations in machine variables may be expressed as,

In the above expression s and r subscripts denote variables associated with the stator and rotor windings, respectively.  For magnetically linear system, the flux linkages may be expressed as

The winding inductances are derived in Lecture notes (Refer Lecture notes on Inductance of symmetrical Induction Machines)

In particular Stator inductance matrix, rotor inductance matrix and mutual inductance between stator and rotor is given by,

In the above inductance equations, Lls and Lms are respectively the leakage and magnetizing inductances of stator windings respectively and Llr and Lmr are respectively the leakage and magnetizing inductances of rotor windings respectively. The inductance Lsr is the amplitude of the mutual inductance between stator and rotor windings. When expressing the voltage equations in machine variable form, it is convenient to refer all rotor variables to the stator windings by appropriate turn’s ratio.

Thus we define

Also

The flux linkages may now be expressed as

The voltage equations expressed in terms of machine variables

Torque Equations in Machine Variables

The energy stored in the coupled field may be written as

Since Llr is only function of rotor position the torque equation can be written by omitting the first two terms of the above equation and is as given below

The above equation may be now simplified as

- (b) Winding inductances of salient pole machine

Refer Lecture Notes in the web site for synchronous induction machiens