Operational impedances for a synchronous machine with four rotor windings

Construction

A 2 pole 3 phase wye-connected salient pole synchronous machine is shown in the figure given below. The stator windings are identical and sinusoid ally distributed windings displaced 120 degrees with Ns equivalent turns and resistance rs. The rotor is equipped with a field winding and three damper windings. The field winding (fd winding) has Nfd equivalent turns with resistance rfd.One damper winding has the same magnetic axis as the field winding. This winding is kd winding, has Nkd equivalent turns with resistance rkd.The magnetic axis of second and third damper windings, the kq1 and kq2 windings, is displaced 90 degrees a head of the magnetic axis of the fd and kd windings. The kq1 and kq2 windings have Nkq1 and Nkq2 equivalent turns with resistance rkq1 and rkq2.It is assumed that all the rotor windings are sinusoidally distributed. Also it is assumed that the direction of positive stator currents is out of the terminals convenient to describe generator action.

The magnetic axes of the stator windings are denoted by as, bs and cs axes. The q axis is the magnetic axes of the kq1 and kq2 windings while the d axis is the magnetic axis of the fd and kd windings. Because the synchronous machine is generally operated as a generator, it is convenient to assume that the direction of positive stator current is out of the terminals as shown in the figure above. With this convention the voltage equation in machine variables may be expressed in matrix form as,

Derivation

In the above expression s and r subscripts denote variables associated with the stator and rotor windings, respectively. Both rs and rr are diagonal matrices. In particular

The flux linkages equations becomes

We can write Stator inductance matrix Ls (Self and Mutual between stator phases) as (Refer Lecture Notes on Symmetrical synchronous machine and MMF waveforms)

Similarly self and mutual inductance of the damper windings are as given below; the inductance matrix Lsr and Lr may be expressed as

The magnetizing inductances are defined as

The relation ship between mutual inductances and magnetizing inductances are given as below (proof of which is given in lecture notes)

It is convenient to incorporate the following substitute variables that refer the rotor variables to the stator windings:

The flux linkages may be now written as

Where Ls is defined in the equation (6) and

The voltage equations in terms of machine variables referred to the stator windings are

TORQUE EQUATIONS IN MACHINE VARIABLES

The energy stored in the coupling field of a synchronous machine may be expressed as

Form the above discussions Ls and L’lr are only function of rotor position and Lr is not a function of rotor position so we can eliminate last term of (30) and since it is a generator iabcs is negative and for a “P” pole machine the above equation can be modified for torque expression as follows

In expanded form the above equation becomes