- Voltage and torque equations of a three phase symmetrical induction machine.

The winding arrangement for a 2 pole 3 phase wye connected symmetrical induction machine is shown in the figure below.

The stator windings are identical, sinusoidally distributed windings, displaced by 120 degrees with Ns equivalent turns and resistance rs. The rotor windings are also identical sinusoidally distributed windings, displaced 120 degrees with Nr equivalent turns and resistance rr. The voltage equations in machine variables may be expressed as,

In the above expression s and r subscripts denote variables associated with the stator and rotor windings, respectively.  For magnetically linear system, the flux linkages may be expressed as

The winding inductances are derived in Lecture notes (Refer Lecture notes on Inductance of symmetrical Induction Machines)

In particular Stator inductance matrix, rotor inductance matrix and mutual inductance between stator and rotor is given by,

In the above inductance equations, Lls and Lms are respectively the leakage and magnetizing inductances of stator windings respectively and Llr and Lmr are respectively the leakage and magnetizing inductances of rotor windings respectively. The inductance Lsr is the amplitude of the mutual inductance between stator and rotor windings. When expressing the voltage equations in machine variable form, it is convenient to refer all rotor variables to the stator windings by appropriate turn’s ratio.

Thus we define

Also

The flux linkages may now be expressed as

The voltage equations expressed in terms of machine variables

Torque Equations in Machine Variables

The energy stored in the coupled field may be written as

Since Llr is only function of rotor position the torque equation can be written by omitting the first two terms of the above equation and is as given below

The above equation may be now simplified as